## DATA SHEETS
GRIDCo WEEKLY DATA ANALYSIS
|  | SYSTEM AVAILABILITY |  |  |  |  | TRANSMISSION LINE AVAILABILITY |  |  |  | WORST PERFORMING FEEDER |  |  | ECG FEEDER AVAILABILITY |  | NEDCo FEEDER AVAILABILITY |  | FREQUENCY DEVIATION (% OF TIME)
Months | DATE | TOTAL ENERGY GENERATED (GWH) | MAXIMUM GHANA DEMAND (MW) | MAXIMUM DOMESTIC DEMAND (MW) | AVERAGE DEMAND (MW) | LOAD FACTOR (%) | 69KV (%) | 161KV (%) | 225KV (%) | 330KV (%) | STATION | FEEDER NAME | AVAILABILITY (%) | INCLUDING PLANNED OUTAGES (%) | EXCLUDING PLANNED OUTAGES (%) | INCLUDING PLANNED OUTAGES (%) | EXCLUDING PLANNED OUTAGES (%) | WITHIN RANGE | OUTSIDE RANGE | BENCHMARK
January | 27-Dec to Jan-02, 2025 | 525.64 | 4287 | 3378 | 3128.79 | 72.98 | 100 | 100 | 100 | 100 | Kumasi | 13F3 | 85.44 | 99.59 | 100 | 99.95 | 99.99 | 21.31 | 78.69 | 15
| Jan-03-09,2025 | 546.29 | 4519 | 3552 | 3251.72 | 71.96 | 100 | 99.71 | 100 | 100 | Winneba | 6F1 | 96.97 | 99.94 | 100 | 100 | 100 | 20.57 | 79.43 | 15
| Jan-10-16,2025 | 557.57 | 4525 | 3545.84 | 3318.88 | 73.35 | 100 | 99.97 | 100 | 100 | Tarkwa | 9F1 | 95.41 | 99.9 | 99.98 | 100 | 100 | 21.08 | 78.92 | 15
| Jan-17-23,2025 | 552.4 | 4530 | 3572 | 3288.11 | 72.59 | 100 | 99.57 | 100 | 100 | Kumasi | 13F1 | 69.42 | 99.36 | 99.67 | 99.96 | 100 | 21.88 | 78.12 | 15
| Jan-24-30,2025 | 554.09 | 4427 | 3462 | 3298.16 | 74.5 | 100 | 99.74 | 100 | 100 | Esiama | 34F2 | 89.75 | 99.63 | 99.72 | 100 | 100 | 21.88 | 78.12 | 15
February | Jan-31-Feb-06,2025 | 539.52 | 4280 | 3476 | 3211.43 | 75.03 | 99.64 | 99.57 | 99.41 | 100 | Anwomaso | 58F1 | 83.95 | 99.49 | 99.71 | 100 | 100 | 35.91 | 64.09 | 15
| Feb-07-13,2025 | 548.27 | 4272 | 3526 | 3263.51 | 76.39 | 100 | 99.98 | 100 | 100 | Kenyasi | 43F3 | 81.5 | 99.74 | 99.94 | 99.9 | 100 | 36.93 | 63.07 | 15
| Feb-14-20,2025 | [18 empty] | 15
| Feb-21-27,2025 | 542.72 | 4234 | 3589 | 3230.49 | 76.3 | 100 | 99.58 | 100 | 100 | Accra East | 59F1 | 95.66 | 99.71 | 99.88 | 100 | 100 | 30.7 | 69.3 | 15
March | Feb-28-Mar-06,2025 | 561.8 | 4464 | 3506 | 3344.05 | 74.91 | 99.95 | 99.82 | 100 | 100 | New Tema | 4F1 | 92.08 | 99.61 | 99.74 | 100 | 100 | 27.96 | 72.04 | 15
| Mar-07-13,2025 | 569.15 | 4442 | 3658 | 3387.81 | 76.27 | 99.9 | 99.84 | 99.83 | 100 | Obuasi | 17F5 | 95.39 | 99.82 | 99.91 | 100 | 100 | 27.16 | 72.84 | 15
| Mar-14-20,2025 | 567.3 | 4073 | 3633 | 3376.79 | 82.91 | 100 | 99.52 | 100 | 100 | Anwomaso | 58F2 | 69.86 | 98.95 | 99.39 | 99.96 | 100 | 24.22 | 75.78 | 15
| Mar-21-27,2025 | [18 empty] | 15
April | Mar-28-Apr-03,2025 | [18 empty] | 15
| Apr-04-09,2025 | 570.4 | 4460 | 3655 | 3395.24 | 76.13 | 99.64 | 99.66 | 100 | 100 | Konongo | 18F5 | 96.75 | 99.89 | 99.96 | 100 | 100 | 28.8 | 71.2 | 15
| Apr-11-17,2025 | 562.4 | 4478 | 3630 | 3347.62 | 74.76 | 99.93 | 99.86 | 100 | 100 | Kenyasi | 43F3 | 97.29 | 99.98 | 99.98 | 100 | 100 | 32.03 | 67.97 | 15
| Apr-18-24,2025 | 549.15 | 4443 | 3568 | 3298.76 | 73.57 | 99.83 | 99.69 | 100 | 100 | Obuasi | 12F5 | 93.21 | 99.74 | 99.82 | 100 | 100 | 24.75 | 75.25 | 15
May | Apr-25 - May-01,2025 | 534.41 | 4411 | 3598 | 3181 | 72.12 | 99.37 | 99.66 | 100 | 100 | New Tema | 4F1 | 94.12 | 99.66 | 99.74 | 100 | 100 | 28.29 | 71.71 | 15
| May-02 - 08,2025 | 546.62 | 4500 | 3741 | 3253.66 | 72.3 | 99.02 | 99.69 | 99.92 | 100 | Esiama | 23F1 | 94.3 | 99.73 | 99.9 | 100 | 100 | 29.99 | 70.01 | 15
| May-09 - 15,2025 | 574.33 | 4622 | 3738 | 3418.63 | 73.69 | 99.78 | 99.73 | 99.59 | 99.41 | New Tema | 12F4 | 98.57 | 99.93 | 99.95 | 99.99 | 99.99 | 27.05 | 72.95 | 15
| May-16 - 22,2025 | 528.54 | 4542 | 3622 | 3146.05 | 69.27 | 99.94 | 99.63 | 98.16 | 99.1 | Obotan | 69F2 | 90.53 | 99.89 | 99.95 | 99.82 | 99.82 | 22.8 | 77.2 | 15
| May- 23 - 29,2025 | 539.16 | 4486 | 3592 | 3209.26 | 71.54 | 99.79 | 99.09 | 99.63 | 99.99 | Akyempim | 42F2 | 94.51 | 99.74 | 99.93 | 99.97 | 99.97 | 24.99 | 75.01 | 15
June | May- 30 - June- 05,2025 | 539.94 | 4484 | 3590 | 3213.94 | 71.68 | 99.97 | 99.6 | 100 | 99.87 | Achimota | 5F1 | 96.36 | 99.85 | 99.98 | 99.97 | 99.97 | 24.31 | 75.69 | 15
| June- 06 - 12,2025 | 517.94 | 4453 | 3526 | 3079.09 | 68.97 | 99.41 | 99.64 | 100 | 98.632 | Namdini | 92T1F1 | 61.16 | 99.85 | 99.95 | 100 | 100 | 28.06 | 71.94 | 15
| June - 13 - 19,2025 | 517.94 | 4391 | 3530 | 3082.96 | 70.21 | 99.88 | 99.84 | 99.9 | 99.574 | Pokuase | 86F2 | 97.83 | 99.93 | 99.99 | 99.9851 | 99.99 | 23.27 | 76.73 | 15
| June - 13 - 19,2025 | 525.37 | 4412 | 3513 | 3127.21 | 70.88 | 100 | 99.84 | 100 | 98.65 | Aflao | 39F4 | 94.3 | 99.89 | 100 | 100 | 99.99 | 21.01 | 78.99 | 15
July | June - 27 -July - 03 2025 | 505.9 | 4240 | 3340 | 3011.31 | 71.02 | 100 | 99.91 | 99.58 | 98.64 | Nkawkaw | 14F1 | 97.42 | 99.96 | 99.96 | 100 | 100 | 22.64 | 77.36 | 15
| July - 4 - 10, 2025 | 488.8 | 4119 | 3261 | 2909.5 | 70.64 | 100 | 99.89 | 100 | 99.58 | Mallam | 37F4 | 96.44 | 99.96 | 100 | 100 | 100 | 20.84 | 79.16 | 15
| July - 11 - 17, 2025 | 488.64 | 3722 | 3283 | 2908.6 | 78.15 | 100 | 99.82 | 99.9 | 99.47 | New Tema | 4F3 | 95.22 | 99.91 | 99.99 | 100 | 100 | 18.41 | 81.59 | 15
| July - 18 - 24, 2025 | 497.02 | 3656 | 3212 | 2958.48 | 80.29 | 100 | 99.73 | 100 | 99.72 | Obuasi | 12F5 | 89.28 | 99.88 | 99.99 | 99.99 | 99.99 | 19.68 | 80.32 | 15
| July - 25 - 31, 2025 | 488.37 | 3599 | 3205 | 3906.98 | 80.77 | 100 | 99.72 | 100 | 99.87 | New Tema | 4F5 | 93.9 | 99.97 | 99.93 | 100 | 100 | 16.06 | 83.94 | 15
Agust | Aug - 01 - 07, 2025 | 471.04 | 3464 | 3074 | 2803.79 | 80.94 | 99.32 | 99.69 | 100 | 99.97 | New Obuasi | 21F1 | 95.2 | 99.92 | 99.99 | 99.91 | 99.99 | 14.48 | 85.52 | 15
| Aug - 08 - 14, 2025 | [18 empty] | 15
| Aug - 15 - 21, 2025 | 463.29 | 3496 | 3033 | 2757.35 | 78.88 | 100 | 99.81 | 100 | 99.81 | Takoradi | 8F2 | 97.97 | 99.94 | 99.99 | 100 | 100 | 22.6 | 77.4 | 15
| Aug - 22 - 28, 2025 | 476.09 | 3684 | 3175 | 2833.86 | 77.68 | 100 | 99.92 | 100 | 99.89 | Prestea | 10F1 | 95.85 | 99.94 | 99.99 | 99.99 | 100 | 25.06 | 74.96 | 15
| Aug-29-Sept-4-2025 | 494.37 | 3692 | 3181 | 2942.67 | 79.7 | 100 | 99.91 | 99.9 | 99.75 | Tarkwa | 9F1 | 98.83 | 99.98 | 99.98 | 100 | 100 | 23.62 | 76.38 | 15
September | Sept - 5 - 11,2025 | 503.29 | 3856 | 3311 | 2995.75 | 77.69 | 100 | 99.95 | 100 | 99.98 | Tafo | 15F1 | 97.43 | 99.92 | 100 | 100 | 100 | 23.43 | 76.57 | 15
Sept - 12 - 18, 2025